## Sheet1
Section | Profile | TestCode | TestName | TestGroup | TestUsefullFor | TestInterpretation | TestLimitation | TestClinicalRef | Analyte | SubAnalyte | Method | SampleType | Quantity | TimePeriod | ResultType | RefrenceType | MaleFromAge | MaleToAge | MaleAgeUnit | MaleMinValue | MaleMaxValue | FemaleFromAge | FemaleToAge | FemaleAgeUnit | FemaleMinValue | FemaleMaxValue | Grade | Unit | Interpritation | UpperLimit | LowerLimit | Price | createdDate | Status | Remark | UploadId
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Haemoglobin | ..Haemoglobin | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 13 | 18 | 0 | 100 | Year | 12 | 16 | NA | gm% | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Haemoglobin | ..Haemoglobin | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 12 | 0 | 100 | Year | 0 | 11 | NA | gm% | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Haemoglobin | ..Haemoglobin | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 19 | 25 | 0 | 100 | Year | 17 | 22 | NA | gm% | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..W.B.C.Counts (TLC) | ..W.B.C.Counts (TLC) | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 4000 | 10000 | 0 | 100 | Year | 4000 | 10000 | NA | /Cu. mm. | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..W.B.C.Counts (TLC) | ..W.B.C.Counts (TLC) | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 3999 | 0 | 100 | Year | 0 | 3999 | NA | /Cu. mm. | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..W.B.C.Counts (TLC) | ..W.B.C.Counts (TLC) | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 11000 | 40000 | 0 | 100 | Year | 11000 | 40000 | NA | /Cu. mm. | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Neutrophils | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 50 | 70 | 0 | 100 | Year | 50 | 70 | NA | % | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Neutrophils | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 49 | 0 | 100 | Year | 0 | 49 | NA | % | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Neutrophils | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 71 | 91 | 0 | 100 | Year | 71 | 91 | NA | % | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Lymphocytes | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 20 | 40 | 0 | 100 | Year | 20 | 40 | NA | % | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Lymphocytes | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 19 | 0 | 100 | Year | 0 | 19 | NA | % | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Lymphocytes | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 40 | 60 | 0 | 100 | Year | 40 | 60 | NA | % | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Eosinophils | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 1 | 6 | 0 | 100 | Year | 2 | 6 | NA | % | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Eosinophils | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 1 | 0 | 100 | Year | 0 | 1 | NA | % | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Eosinophils | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 7 | 13 | 0 | 100 | Year | 7 | 13 | NA | % | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Monocytes | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 2 | 10 | 0 | 100 | Year | 1 | 10 | NA | % | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Monocytes | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 2 | 0 | 100 | Year | 0 | 0 | NA | % | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Monocytes | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 11 | 30 | 0 | 100 | Year | 11 | 30 | NA | % | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Basophils | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 1 | 0 | 100 | Year | 0 | 1 | NA | % | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Basophils | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 0 | 0 | 100 | Year | 0 | 0 | NA | % | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Differntial W.B.C Counts | ..Basophils | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 2 | 9 | 0 | 100 | Year | 2 | 9 | NA | % | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..R.B.C Counts | ..R.B.C Counts | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 4 | 5.5 | 0 | 100 | Year | 4 | 5.5 | NA | Mil./c.mm | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..R.B.C Counts | ..R.B.C Counts | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 3 | 0 | 100 | Year | 0 | 3 | NA | Mil./c.mm | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..R.B.C Counts | ..R.B.C Counts | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 5.6 | 10 | 0 | 100 | Year | 5.6 | 10 | NA | Mil./c.mm | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..HCT/PCV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 40 | 48 | 0 | 100 | Year | 40 | 48 |  | % | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..HCT/PCV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 39 | 0 | 100 | Year | 0 | 39 |  | % | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..HCT/PCV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 49 | 60 | 0 | 100 | Year | 49 | 60 |  | % | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..MCV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 80 | 99 | 0 | 100 | Year | 80 | 99 |  | Fl | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..MCV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 79 | 0 | 100 | Year | 0 | 79 |  | Fl | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..MCV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 100 | 120 | 0 | 100 | Year | 100 | 120 |  | Fl | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..MCH | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 26 | 32 | 0 | 100 | Year | 26 | 32 |  | pg | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..MCH | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 25 | 0 | 100 | Year | 0 | 25 |  | pg | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..MCH | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 33 | 45 | 0 | 100 | Year | 33 | 45 |  | pg | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..MCHC | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 32 | 36 | 0 | 100 | Year | 32 | 36 |  | gm% | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..MCHC | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 31 | 0 | 100 | Year | 0 | 31 |  | gm% | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..MCHC | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 37 | 50 | 0 | 100 | Year | 37 | 50 |  | gm% | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..RWD- SD | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 37 | 54 | 0 | 100 | Year | 37 | 54 |  | fl | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..RWD- SD | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 36 | 0 | 100 | Year | 0 | 36 |  | fl | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..RWD- SD | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 55 | 70 | 0 | 100 | Year | 55 | 70 |  | fl | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..RWD- CV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 11.5 | 14.5 | 0 | 100 | Year | 11.5 | 14.5 |  | % | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..RWD- CV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 11.4 | 0 | 100 | Year | 0 | 11.4 |  | % | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..RBC Indices | ..RWD- CV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 14.6 | 19.5 | 0 | 100 | Year | 14.6 | 19.5 |  | % | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..Platelets Counts | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 1,50,000 | 4,50,000 | 0 | 100 | Year | 1,50,000 | 4,50,000 |  | /ul | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..Platelets Counts | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 1,50,000 | 0 | 100 | Year | 0 | 1,50,000 |  | /ul | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..Platelets Counts | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 4,51,000 | 8,50,000 | 0 | 100 | Year | 4,51,000 | 8,50,000 |  | /ul | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..MPV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 7.4 | 10.4 | 0 | 100 | Year | 7.4 | 10.4 |  | fl | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..MPV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 7.3 | 0 | 100 | Year | 0 | 7.3 |  | fl | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..MPV | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 10.5 | 15.5 | 0 | 100 | Year | 10.5 | 15.5 |  | fl | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..PDW | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 10 | 17 | 0 | 100 | Year | 10 | 17 |  | % | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..PDW | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 9 | 0 | 100 | Year | 0 | 9 |  | % | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..PDW | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 18 | 30 | 0 | 100 | Year | 18 | 30 |  | % | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..PCT | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0.1 | 0.28 | 0 | 100 | Year | 0.1 | 0.28 |  | % | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..PCT | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 0.9 | 0 | 100 | Year | 0 | 0.9 |  | % | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..PCT | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0.29 | 0.75 | 0 | 100 | Year | 0.29 | 0.75 |  | % | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..P-LCR | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 13 | 43 | 0 | 100 | Year | 13 | 43 |  | % | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..P-LCR | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 12 | 0 | 100 | Year | 0 | 12 |  | % | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..Platelets Indices | ..P-LCR | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 44 | 70 | 0 | 100 | Year | 44 | 70 |  | % | High | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..E.S.R | ..E.S.R (Western Green) | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 1 | 10 | 0 | 100 | Year | 3 | 14 |  | mm/hr | Normal | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..E.S.R | ..E.S.R (Western Green) | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 0 | 1 | 0 | 100 | Year | 0 | 2 |  | mm/hr | Low | NA | NA | 0
Haematology | COMPLETE HAEMOGRAM | ..CBC | ..COMPLETE BLOOD COUNT | 0 | NA | Results outside of normal value ranges may reflect a primary disorder of the cell-producing organs or an underlying disease. Results should be interpreted in conjunction with the patients clinical picture and appropriate additional testing performed | Questionable results are detected by in-house checking criteria based on quantitative and qualitative parameters. Defined laboratory instrument and/or patient flagging criteria may trigger peripheral blood smear review resulting in consultant readout of hematologic abnormalities. | NA | ..E.S.R | ..E.S.R (Western Green) | NA | Whole Blood EDTA | 2ml | Random | Quantitative | Reference as per limits of detection | 0 | 100 | Year | 11 | 20 | 0 | 100 | Year | 15 | 25 |  | mm/hr | High | NA | NA | 0